CHANGES No: 1

to the

TENDER DOSSIER

Publication Ref: SIHHAT/2017/SUP/INT/01

# Subject: Vaccine and Vaccine Transport Vehicles

Location: Turkey

The tender dossier is corrected or modified as follow:

TECHNICAL SPECIFICATIONS

LOT 2

Article 4.4.1

Instead of (former text):

Batch Release Certificate of the product, of the series imported from places specified in the annex of EEC directive 89/342 of the European Union, shall be delivered

Read (new text):

Batch Release Certificate of the product, of the series imported from places specified in the annex of EEC directive 89/342 of the European Union, shall be delivered .This document shall be requested at the final stage of acceptance if product filling or production is done in Turkey and it shall be provided by Turkish Medicines and Medical Devices Agency Drug, Biological and Medical Products Laboratory Department.

LOT 2, LOT 3, LOT 7

Article 4.3, 3.1, 3,6

Instead of (former text):

LOT 2 4.3 The vaccines must have an expiration date of at least 18 (eighteen) months from the date of delivery to our warehouse.

LOT 3 3.1 The vaccines must have an expiration date of at least 18 (eighteen) months from the date of delivery to our warehouse

LOT 7 3.6 The vaccines must have an expiration date of at least 18 (eighteen) months from the date of delivery to our warehouse

APPENDIX A

| LOT number | LOT name | 2017 december | 2018 march | 2019 January | Delivery place |
| --- | --- | --- | --- | --- | --- |
| 2 | The “DTaP-IPV-HIB” Vaccine | 300 000 | 300 000 | 300 000 | Saracalar mahallesi Turgut Özal Bulvarı General Özkan Özgün Sk. No.349 Akyurt-ANKARA |
| 5(3) | Oral Polio Vaccine (OPV) | 160 000 | 160 000 | 160 000 | Saracalar mahallesi Turgut Özal Bulvarı General Özkan Özgün Sk. No.349 Akyurt-ANKARA |
| 7 | The “DaPT-IPV” Vaccine | 75 000 | 75 000 | 75 000 | Saracalar mahallesi Turgut Özal Bulvarı General Özkan Özgün Sk. No.349 Akyurt-ANKARA |

Read (new text):

LOT 2 -4.3 The vaccines must have an expiration date of at least 15 (fifteen) months from the date of delivery to our warehouse.

LOT 3 -3.1 The vaccines must have an expiration date of at least 12 (twelve) months from the date of delivery to our warehouse

LOT 7 -3.6 The vaccines must have an expiration date of at least 15 (fifteen) months from the date of delivery to our warehouse

APPENDIX A

| LOT number | LOT name | 2017 December | 2018 june | 2018 december | 2019 may | Delivery place |
| --- | --- | --- | --- | --- | --- | --- |
| 2 | The “DTaP-IPV-HIB” Vaccine |  |  | 600 000 | 300 000 | Saracalar mahallesi Turgut Özal Bulvarı General Özkan Özgün Sk. No.349 Akyurt-ANKARA |
| 5(3) | Oral Polio Vaccine (OPV) | 160 000 | 160 000 |  | 160 000 | Saracalar mahallesi Turgut Özal Bulvarı General Özkan Özgün Sk. No.349 Akyurt-ANKARA |
| 7 | The “DaPT-IPV” Vaccine | 150 000 |  |  | 75 000 | Saracalar mahallesi Turgut Özal Bulvarı General Özkan Özgün Sk. No.349 Akyurt-ANKARA |

LOT 3

Article 3.3.2

Instead of (former text):

The product shall be packaged in packages of up to ten vials or ampoules for single, 10 or 20 dose products. If the products are packed in ten packs, there shall be a separator such as foam or cardboard which prevents the vials or ampoules from being broken by contact. If the product is packaged in a single package, the packages shall be connected in ten afterwards. The vaccine droppers shall also be packaged in sterile packages of 10. The company shall provide extra vaccine dropper as much as 0.2% of number of vials or ampoules purchased.

Read (new text):

The product shall be packaged in packages of up to ten vials or tubes for single, 10 or 20 doses. If the product is packed in a single package, the packages will then be connected in tenfolds. The vaccine droppers will also be packed in 10 pieces. The Company will provide as much as 0.2% of the vial or tube quantity of the purchased vaccine

LOT 3

Article 3.3.3

Instead of (former text):

In the product's internal packaging and over the packages, the manufacturer's and product's name, number, batch number, expiry date, amount of content (TCID50 or CCID50 or PFU type), application type (Oral), storage temperature shall be written and these shall be undeletable. On the package of the product, it shall say “Sağlık Bakanlığı Malıdır, SATILAMAZ”There shall be a Vaccine Vial Monitor showing the exposure of each vial or ampoule to heat

Read (new text):

In the product's internal packaging and over the packages, the manufacturer's and product's name, number, batch number, expiry date, amount of content application type (Oral), storage temperature shall be written and these shall be undeletable. On the package of the product, it shall say “Sağlık Bakanlığı Malıdır, SATILAMAZ”There shall be a Vaccine Vial Monitor showing the exposure of each vial or ampoule to heat

LOT 8

Article 2.4

Instead of (former text):

2.4 One needle shall be attacked to the injector and one needle shall be in a single package  next to the injector and needle numbers shall be specified on the package

Read (new text):

2.4 Two needle shall be in a single package next to the injector and needle numbers               shall be specified on the package

LOT 9

Article 1.1

Instead of (former text):

Carrying capacity (the volume remained after placing ice batteries) shall be at least 20 liters.  Vaccine transport container external sizes shall be 80x66x55 cm (+/- 5cm)

Read (new text):

Carrying capacity (the volume remained after placing ice batteries) shall be at least 20 liters.  Vaccine transport container external sizes shall be 80x66x55 cm (+/- 15cm)

LOT 9

Article 1.11

Instead of (former text):

Vaccine transport container shall have 2 wheels and the wheels shall be made from  ABS (Akrilonitril bütadien stiren) raw material that is strong enough for external use and they shall never be made from recycling product. Wheels shall be at least 12 cm in diameter.  The wheels shall be connected to each other by rod iron under the body of vaccine transport container

Read (new text):

Vaccine transport container shall have 2 wheels and the wheels shall be made from  original ABS (Akrilonitril bütadien stiren) raw material that is strong enough for external use and they shall never be made from recycling product. Wheels shall be at least 12 cm (+/- 3cm) in diameter.  The wheels shall be connected to each other by rod iron under the body or connected to each other by the axe that are placed two sides of body of vaccine transport container

LOT 10

Article 1.13

Instead of (former text):

It must have polyurethane insulation with a minimum density of 30 kg/m3 and minimum thickness of 40 mm.

Read (new text):

It must have polyurethane insulation with a minimum density of 40 kg/m3 and minimum thickness of 40 mm.

LOT 10

Article 1.6

Instead of (former text):

Interior temperature of the refrigerator must be homogeneous. (± 1 ⁰C). vaccine container internal temperature shall not be below under 0 degrees in the normal external environment and room temperature.

Read (new text):

Interior temperature of the refrigerator must be homogeneous. (± 1 ⁰C). The manufacturer shall do the test and certificated. These documents shall be submitted at most provisional acceptance stage to the committee. If needed documents shall be evaluated by the independent company identified by the contracting authority at the contractor’s own cost .(Maximum allowable temperature difference among average temperature of the shelves is 2 C. For verification purposes, shelf temperatures are measured in accordance with TS EN 62552)

LOT 10

Article 1.25

Instead of (former text):

Operating temperature: (0)-( +36) ⁰C  (minimum values) Must be certified

Read (new text):

Operating temperature: (0)-( +36) ⁰C  (minimum values) Must be certified.These documents shall be submitted at most provisional acceptance stage to the committee. If needed documents shall be evaluated by the independent company identified by the contracting authority at the contractor’s own cost .

LOT 10

Article 1.21

Instead of (former text):

It must have be a silent and vibration-free compressor system..

Read (new text):

It must have be a silent and vibration-free compressor system. Maximum proposed SPL value shall be 45dBA. The manufacturer shall do the test and certificated. These documents shall be submitted at most provisional acceptance stage to the committee. If needed documents shall be evaluated by the independent company identified by the contracting authority at the contractor’s own cost .

LOT 11

Article1.33

Instead of (former text):

Within the warranty coverage of the cold room to be installed and during the duration of maintenance contract, in case of a fault, the successful bidder shall reach the cold room with fault with technical personnel within 1 hour and must repair the fault within at most 5 hours.

Read (new text):

Within the warranty coverage of the cold room to be installed and during the duration of maintenance contract, in case of a fault, the successful bidder shall reach the cold room with fault with technical personnel within 12 hour and must repair the fault within at most 2 days.

Lot 12

Article 1.7

Instead of (former text):

Dimensions: 1500 * 1200 * 1180 mm

Read (new text):

External Dimensions: 1500 depthx 1200 widthx1180 lenght

Lot 12

Article 1.1

Instead of (former text):

Internal volume of the cooler shall be 915 lt.

Read (new text):

Internal volume of the cooler shall be 900 lt.

LOT 12

Read (new text): added

1.29 Cooling units shall be installed in vehicles at AKYURT warehouse. Saracalar mahallesi Turgut Özal Bulvarı General Özkan Özgün Sk. No.349 Akyurt-ANKARA

LOT 12

Instead of (former text):

| 1.25 | Fire extinguisher;2 items Min 6 kg capacity, opened easily, installed in driver’s cabin, |
| --- | --- |
| 1.26 | First aid kit-1 set, in accordance to 2918 highways Traffic Law |
| 1.27 | Phosphorus Triangle reflector-2 items |
| 1.28 | Snow tires-4 items |

Read (new text):

deleted

LOT 13

Article 1.7

Instead of (former text):

Height: Min 2381

Read (new text):

Height: Min 2000

LOT 13

Article 1.21

Instead of (former text):

Number of doors and plan: 3 pieces; 2 on the right, 1 on the left

Read (new text):

Number of doors and plan: 4 pieces; 2 on the right, 1 on the left, 1 back door

LOT 13

Read (new text): added

1.27 The vehicle shall be new and 2017 model

LOT 13

Read (new text):added

| 1.27 | Fire extinguisher;2 items Min 6 kg capacity, opened easily, installed in driver’s cabin, |
| --- | --- |
| 1.28 | First aid kit-1 set, in accordance to 2918 highways Traffic Law |
| 1.29 | Phosphorus Triangle reflector-2 items |
| 1.30 | Snow tires-4 items |